TSTRANSCO -  Submission of Additional Information to TSERC in

Resource Plan for 5th & 6th Control Period  (O.P. No. 9 of 2023 & IA No. 6 of 2023 of the Hon’ble TSERC) (Ref: e-mail dated 06-10-2023 of the Secretary/TSERC)

I. TSTRANSCO Transmission Plan for 5th and 6th Control Period.

Point No.1:

- TSTRANSCO to submit the details of its proposed transmission network for each year from FY 2023-24 to FY 2033-34 in MS Excel in the following format (Table-1).

Reply:

Submitted as Annexure - A

Point No.2:

- In para 2.5 and 3.2 of the Petition, TSTRANSCO has submitted scheme wise capital investment plan for 5th and 6th control Period. TSTRANSCO to submit the scheme wise details in the format (in MS Excel) enclosed at Annexure-1 for each category viz., 400 kV sub-stations, 400 kV Transmission Lines etc.,

Reply:

Submitted as Annexure - B

Point No.3:

- The load flow studies and short circuit studies submitted by TSTRANSCO as Annexure-IIIA, does not mention the underlying assumptions, parameters and methodology adopted for studies.  In this regard, TSTRANSCO to submit a detailed write up on the assumptions, parameters and methodology adopted for studies.

Reply:

Submitted as Annexure - C

Point No.4:

- TSTRANSCO to submit the preparedness to execute the proposed capital expenditure for the 5th and 6th control period in terms of funds tie-up, placement of orders etc.

Reply:

System Improvement Scheme works:  Funds tie-up yet to be finalized and works will be taken up subsequently.

Lift Irrigation Scheme works: The lift irrigation scheme works are Depository Contribution (DC) works and will be funded by Irrigation & CAD department (Govt. of Telangana).

Point No.5:

- TSTRANSCO to submit the mode of execution of the proposed capital investment for the 5th and 6th Control Period, to ensure the least cost principles are followed.

Reply:

Mode of execution is by going for Competitive Bidding. Two-part Bidding (Technical bidding & price bid) is done to ensure quality & low cost.

Point No.6:

- TSTRANSCO to provide details of existing and commissioned Lift Irrigation Scheme.

Reply:

Submitted as Annexure – D

Point No.7:

7. 	TSTRANSCO has proposed the loss trajectory for 5th and 6th control periods at page 8 of the Petition. TSTRANSCO to substantiate the proposed transmission loss trajectory with the proposed capital investment for the 5th and 6th control periods.

Reply:

For the proposed capital investment for the 5th and 6th control periods, the system studies are already submitted.

Transmission system losses are calculated on monthly basis based on actuals (Generation in MU and Sale to Discoms in MU).

The target loss trajectory (%) for the 5th and 6th control period is prepared based on the actual system losses for the 4th control period.