## Final - Statement (Annex-A)
Annexure - A : Details of Transmission Network for 5th & 6th control periods
S. No. | Particulars | FY 2023-24 |  |  |  | FY 2024-25 |  |  |  | FY 2025-26 |  |  |  | FY 2026-27 |  |  |  | FY 2027-28 |  |  |  | FY 2028-29 |  |  |  | FY 2029-30 |  |  |  | FY 2030-31 |  |  |  | FY 2031-32 |  |  |  | FY 2032-33 |  |  |  | FY 2033-34
|  | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing | Opening | Addition | Deletion | Closing
A | Lines (Ckt km)
1 | 400kV | 4443 | 671 | 0 | 5114 | 5114 | 0 | 0 | 5114 | 5114 | 100 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214 | 5214 | 0 | 0 | 5214
2 | 400kV LIS | 1333.43 | 984.706 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136 | 2318.136 | 0 | 0 | 2318.136
3 | 220kV | 8332.39 | 443.2 | 0 | 8775.59 | 8775.59 | 99 | 0 | 8874.59 | 8874.59 | 178 | 0 | 9052.59 | 9052.59 | 4 | 0 | 9056.59 | 9056.59 | 8 | 0 | 9064.59 | 9064.59 | 0 | 0 | 9064.59 | 9064.59 | 110 | 0 | 9174.59 | 9174.59 | 90 | 0 | 9264.59 | 9264.59 | 120 | 0 | 9384.59 | 9384.59 | 100 | 0 | 9484.59 | 9484.59 | 120 | 0 | 9604.59
4 | 220kV LIS | 522 | 290.952 | 0 | 812.952 | 812.952 | 257 | 0 | 1069.952 | 1069.952 | 0 | 0 | 1069.952 | 1069.952 | 220 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952 | 1289.952 | 0 | 0 | 1289.952
5 | 132kV | 11527.88 | 242.06 | 0 | 11769.94 | 11769.94 | 608.03 | 0 | 12377.97 | 12377.97 | 302.3 | 0 | 12680.27 | 12680.27 | 202.5 | 0 | 12882.77 | 12882.77 | 265.6 | 0 | 13148.37 | 13148.37 | 190.8 | 0 | 13339.17 | 13339.17 | 30 | 0 | 13369.17 | 13369.17 | 45 | 0 | 13414.17 | 13414.17 | 30 | 0 | 13444.17 | 13444.17 | 30 | 0 | 13474.17 | 13474.17 | 50 | 0 | 13524.17
6 | 132kV LIS | 469 | 0 | 0 | 469 | 469 | 401.477 | 0 | 870.477 | 870.477 | 85 | 0 | 955.477 | 955.477 | 90 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477 | 1045.477 | 0 | 0 | 1045.477
Transco owned Lines TOTAL |  | 24303.27 | 2098.906 | 0 | 16207.726 | 16207.726 | 99 | 0 | 16306.726 | 16306.726 | 278 | 0 | 16584.726 | 16584.726 | 4 | 0 | 16588.726 | 16588.726 | 8 | 0 | 16596.726 | 16596.726 | 0 | 0 | 16596.726 | 16596.726 | 110 | 0 | 16706.726 | 16706.726 | 90 | 0 | 16796.726 | 16796.726 | 120 | 0 | 16916.726 | 16916.726 | 100 | 0 | 17016.726 | 17016.726 | 120 | 0 | 17136.726
LIS owned Lines TOTAL |  | 2324.43 | 533.012 | 0 | 13051.892 | 13051.892 | 1266.507 | 0 | 14318.399 | 14318.399 | 387.3 | 0 | 14705.699 | 14705.699 | 512.5 | 0 | 15218.199 | 15218.199 | 265.6 | 0 | 15483.799 | 15483.799 | 190.8 | 0 | 15674.599 | 15674.599 | 30 | 0 | 15704.599 | 15704.599 | 45 | 0 | 15749.599 | 15749.599 | 30 | 0 | 15779.599 | 15779.599 | 30 | 0 | 15809.599 | 15809.599 | 50 | 0 | 15859.599
Grand Total Lines |  | 26627.7 | 2631.918 | 0 | 29259.618 | 29259.618 | 1365.507 | 0 | 30625.125 | 30625.125 | 665.3 | 0 | 31290.425 | 31290.425 | 516.5 | 0 | 31806.925 | 31806.925 | 273.6 | 0 | 32080.525 | 32080.525 | 190.8 | 0 | 32271.325 | 32271.325 | 140 | 0 | 32411.325 | 32411.325 | 135 | 0 | 32546.325 | 32546.325 | 150 | 0 | 32696.325 | 32696.325 | 130 | 0 | 32826.325 | 32826.325 | 170 | 0 | 32996.325
B | Transformation Capacity (MVA)
Transco PTRs (MVA) |  | 69852 | 5351 | 315 | 74888 | 74888 | 3122.5 | 0 | 78010.5 | 78010.5 | 2787 | 0 | 80797.5 | 80797.5 | 1779 | 0 | 82576.5 | 82576.5 | 2012 | 0 | 84588.5 | 84588.5 | 1076 | 0 | 85664.5 | 85664.5 | 420 | 0 | 86084.5 | 86084.5 | 520 | 0 | 86604.5 | 86604.5 | 420 | 0 | 87024.5 | 87024.5 | 420 | 0 | 87444.5 | 87444.5 | 520 | 0 | 87964.5
LIS PTRs (MVA) |  | 11995 | 5615 | 0 | 17610 | 17610 | 1727 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337 | 19337 | 0 | 0 | 19337
TOTAL Transformation Capacity (MVA) |  | 81847 | 10966 | 315 | 92498 | 92498 | 4849.5 | 0 | 97347.5 | 97347.5 | 2787 | 0 | 100134.5 | 100134.5 | 1779 | 0 | 101913.5 | 101913.5 | 2012 | 0 | 103925.5 | 103925.5 | 1076 | 0 | 105001.5 | 105001.5 | 420 | 0 | 105421.5 | 105421.5 | 520 | 0 | 105941.5 | 105941.5 | 420 | 0 | 106361.5 | 106361.5 | 420 | 0 | 106781.5 | 106781.5 | 520 | 0 | 107301.5
C | Bays (Nos.)
1 | 400kV | 292 | 24 | 0 | 316 | 316 | 0 | 0 | 316 | 316 | 8 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324 | 324 | 0 | 0 | 324
2 | 400kV LIS | 152 | 213 | 0 | 365 | 365 | 0 | 0 | 365 | 365 | 0 | 0 | 365 | 365 | 0 | 0 | 365 | 365 | 18 | 0 | 383 | 383 | 0 | 0 | 383 | 383 | 0 | 0 | 383 | 383 | 0 | 0 | 383 | 383 | 0 | 0 | 383 | 383 | 0 | 0 | 383 | 383 | 0 | 0 | 383
3 | 220kV | 755 | 27 | 0 | 782 | 782 | 10 | 0 | 792 | 792 | 15 | 0 | 807 | 807 | 0 | 0 | 807 | 807 | 0 | 0 | 807 | 807 | 0 | 0 | 807 | 807 | 2 | 0 | 809 | 809 | 2 | 0 | 811 | 811 | 4 | 0 | 815 | 815 | 2 | 0 | 817 | 817 | 2 | 0 | 819
4 | 220kV LIS | 183 | 51 | 0 | 234 | 234 | 30 | 0 | 264 | 264 | 0 | 0 | 264 | 264 | 6 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270 | 270 | 0 | 0 | 270
5 | 132kV | 1907 | 14 | 0 | 1921 | 1921 | 44 | 0 | 1965 | 1965 | 27 | 0 | 1992 | 1992 | 13 | 0 | 2005 | 2005 | 26 | 0 | 2031 | 2031 | 16 | 0 | 2047 | 2047 | 4 | 0 | 2051 | 2051 | 2 | 0 | 2053 | 2053 | 4 | 0 | 2057 | 2057 | 2 | 0 | 2059 | 2059 | 2 | 0 | 2061
6 | 132kV LIS | 49 | 0 | 0 | 49 | 49 | 80 | 0 | 129 | 129 | 2 | 0 | 131 | 131 | 4 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135 | 135 | 0 | 0 | 135
Total Transco Bays |  | 1199 | 264 | 0 | 1463 | 1463 | 10 | 0 | 1473 | 1473 | 23 | 0 | 1496 | 1496 | 0 | 0 | 1496 | 1496 | 18 | 0 | 1514 | 1514 | 0 | 0 | 1514 | 1514 | 2 | 0 | 1516 | 1516 | 2 | 0 | 1518 | 1518 | 4 | 0 | 1522 | 1522 | 2 | 0 | 1524 | 1524 | 2 | 0 | 1526
Total LIS owned Bays |  | 2139 | 65 | 0 | 2204 | 2204 | 154 | 0 | 2358 | 2358 | 29 | 0 | 2387 | 2387 | 23 | 0 | 2410 | 2410 | 26 | 0 | 2436 | 2436 | 16 | 0 | 2452 | 2452 | 4 | 0 | 2456 | 2456 | 2 | 0 | 2458 | 2458 | 4 | 0 | 2462 | 2462 | 2 | 0 | 2464 | 2464 | 2 | 0 | 2466
Grand Total Bays |  | 3338 | 329 | 0 | 3667 | 3667 | 164 | 0 | 3831 | 3831 | 52 | 0 | 3883 | 3883 | 23 | 0 | 3906 | 3906 | 44 | 0 | 3950 | 3950 | 16 | 0 | 3966 | 3966 | 6 | 0 | 3972 | 3972 | 4 | 0 | 3976 | 3976 | 8 | 0 | 3984 | 3984 | 4 | 0 | 3988 | 3988 | 4 | 0 | 3992
Note : TSTransco owned Lines and bays include TSTransco + bulk loads + Generators. Doesnot include Inter-state & LIS.