ANNEXURE - E

The statement showing the revised energy surplus/deficit of TSDiscoms as per the additional information submitted by TSSPDCL vide their letter dated 16-09-2023 due to the combined impact of delay of commissioning of new generating stations, LIS projections received from I&CAD Department and availability as per historical actual PLFs is given below :

| Particular | Impact of Energy Balance in Telangana State |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 5th Control Period |  |  |  |  | 6th Control Period |  |  |  |  |
|  | 2024-25 | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 |
| Energy Availability | 93191 | 100071 | 99840 | 99136 | 96449 | 96416 | 96256 | 93728 | 95907 | 96058 |
| Energy Requirement | 90587 | 94885 | 99371 | 104310 | 109354 | 114344 | 120062 | 126205 | 132790 | 139819 |
| Surplus/ (Deficit) | 2604 | 5186 | 469 | (5174) | (12905) | (17928) | (23806) | (32477) | (36884) | (43761) |
| % of Surplus to Availability | 3% | 5% | 0% | -5% | -12% | -16% | -20% | -26% | -28% | -31% |